## All Work Orders
All Work Orders
Injaaz Application – Report Generation
Generated: 23 May 2026 10:40
WorkOrder No | Reported Date | Priority | Work Description | Client | Reported By | Service Group | Assigned Date | Work Start Date | Closed By | Status | Contract | BaseUnit | Space
10021179 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues | Aqaar Community Mangement | Araki Abasher | Plumbing Works | 2026-05-19 |  | Muhammad Waqas Muhammad Raifan | Pending | Orient Towers-TFM | Apt No 1107 | Chargeable
10021180 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC Issue | Aqaar Community Mangement | Araki Abasher | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 2014 | Chargeable
10021181 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 510-GCM1 | HVAC systems | 2026-05-19 |  | ATLASHVACGC2 | Pending | Garden City-TFM | Apt No510 B | Non-Chargeable
10021183 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | Mankesh Kumar Singh | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No501 | Non-Chargeable
10021184 | 2026-05-19 | P3 | Tower B DVR - 21 lift 2 camera not working DVR 1 monitor screen not working. DVR - 22 garden area monitor screen not working. DVR - 22 and 23 2 nos garden area camera not working | Aqaar Community Mangement | Araki Abasher | CCTV |  |  |  | Pending | Orient Towers-TFM | CCTV room | Non-Chargeable
10021185 | 2026-05-19 | P3 | Tower A1 DVR - 2 lift 3 and 4 camera not working DVR - 4 monitor screen not working. | Aqaar Community Mangement | Araki Abasher | CCTV |  |  |  | Pending | Orient Towers-TFM | Telephone Room CCTV Room | Non-Chargeable
10021186 | 2026-05-19 | P3 | Tower C DVR- 2 lift 3 camera not working. DVR - 1, 6 and 7 monitor screen not working. | Aqaar Community Mangement | Araki Abasher | CCTV |  |  |  | Pending | Orient Towers-TFM | CCTV Room | Non-Chargeable
10021187 | 2026-05-19 | P3 | Tower A2 DVR 5 P2 parking area camera not working | Aqaar Community Mangement | Araki Abasher | CCTV |  |  |  | Pending | Orient Towers-TFM | Telephone Room CCTV Room | Non-Chargeable
10021188 | 2026-05-19 | P3 | B 909A AC not cooling | Aqaar Community Mangement | Araki Abasher | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 909A | Chargeable
10021189 | 2026-05-19 | P3 | M5 LV room ac need service | Aqaar Community Mangement | Mankesh Kumar Singh | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Ground Floor | Non-Chargeable
10021190 | 2026-05-19 | P3 | J9 406 need carpenter | Aqaar Community Mangement | Shakeel Mohammad | Carpenter works | 2026-05-19 |  | Baidda Sarker Nimal Sarker | Pending | Garden City-TFM | APT NO 406-B | Chargeable
10021191 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues | Askaan Properties LLC | 1205-AF | Plumbing Works |  |  |  | Pending | A & F Tower-MEP | Apt No 1205 | Chargeable
10021192 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Askaan Properties LLC | 1205-AF | HVAC systems |  |  |  | Pending | A & F Tower-AC | Apt No 1205 | Chargeable
10021193 | 2026-05-19 | P1 | HVAC systems - Air Conditioner - AC water leakage | Saqr Real Estate | 501-NA | HVAC systems |  |  |  | Pending | Najim Building-AC | Apt No 501 | Chargeable
10021194 | 2026-05-19 | P3 | Electrical Works - Electrical - Light Replacement | Askaan Properties LLC | Dennis Serraon Lubay | Electrical Works | 2026-05-19 | 2026-05-19 | Mustafa Shaik | Resolved | C1 Tower-TFM | Exit/ Entry | Non-Chargeable
10021195 | 2026-05-19 | P3 | Civil Works - civil - Tiles issue 12th floor wall tiles require for repair | Askaan Properties LLC | Dennis Serraon Lubay | Civil Works | 2026-05-19 | 2026-05-19 | Mustafa Shaik | Resolved | C1 Tower-TFM | Corridor/stair case | Non-Chargeable
10021196 | 2026-05-19 | P3 | Civil Works - Glass Doors - Glass door hinge damaged/malfuctntioning main entrance glass door pivot hinges replacement | Askaan Properties LLC | Dennis Serraon Lubay | Civil Works | 2026-05-19 | 2026-05-19 | Abdul Raouf | Resolved | C1 Tower-TFM | Exit/ Entry | Non-Chargeable
10021197 | 2026-05-19 | P3 | Housekeeping - Cleaning Process - Garbage Chute Inside Not Cleaned & Chute Door Not Closing | Aqaar Community Mangement | Arshith Swaminath | Housekeeping | 2026-05-19 |  | Anil Reddipet Balnarsu | Pending | Garden City-TFM | 2nd Floor | Non-Chargeable
10021198 | 2026-05-19 | P3 | Electrical Works - Electrical - Electrician required | Saqr Real Estate | 407-NA | Electrical Works |  |  |  | Pending | Najim Building-MEP | Apt No 407 | Chargeable
10021199 | 2026-05-19 | P3 | Electrical Works - Electrical - corridor light not working | Aqaar Community Mangement | 302-GCM6 | Electrical Works | 2026-05-19 |  | Aslam Miah Omar Ali | Pending | Garden City-TFM | 3rd Floor | Non-Chargeable
10021200 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 102-GCJ6 | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | APT NO 102 -H | Non-Chargeable
10021201 | 2026-05-19 | P3 | Painting - painting - Painter required B P1 lift lobby Painting work | Aqaar Community Mangement | Araki Abasher | Painting |  |  |  | Pending | Orient Towers-TFM | Parking 1 | Non-Chargeable
10021202 | 2026-05-19 | P3 | Electrical Works - Electrical - Light Replacement A2 14th 15th water meter Room Lights replacement | Aqaar Community Mangement | Araki Abasher | Electrical Works |  |  |  | Pending | Orient Towers-TFM | 14th Floor | Non-Chargeable
10021203 | 2026-05-19 | P3 | Electrical Works - Electrical - Light Replacement C 10th floor water meter room Light replacement | Aqaar Community Mangement | Araki Abasher | Electrical Works |  |  |  | Pending | Orient Towers-TFM | 10th Floor | Non-Chargeable
10021204 | 2026-05-19 | P3 | Carpenter works - Carpentry - Carpenter required B 19th staircase Ducts grill repairing | Aqaar Community Mangement | Araki Abasher | Carpenter works |  |  |  | Pending | Orient Towers-TFM | 19th Floor | Non-Chargeable
10021205 | 2026-05-19 | P1 | Cable - Internet - Internet cable Issue | Aqaar Community Mangement | Jaser | Cable | 2026-05-19 |  | Sandeep Vishwakarma | Pending | Garden City-TFM | Apt No507 | Chargeable
10021206 | 2026-05-19 | P3 | B 812 Electrical issue | Aqaar Community Mangement | 812-B | Electrical Works |  |  |  | Pending | Orient Towers-TFM | Apt No 812 | Chargeable
10021207 | 2026-05-19 | P3 | Painting - painting - Painter required | Saqr Real Estate | 901-RE1 | Painting |  |  |  | Pending | Al Raffa 1-MEP | Apt No 901 | Chargeable
10021208 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues | Saqr Real Estate | 901-RE1 | Plumbing Works |  |  |  | Pending | Al Raffa 1-MEP | Apt No 901 | Chargeable
10021209 | 2026-05-19 | P3 | Electrical Works - Electrical - Electrician required - Electrical switch issue | Aqaar Community Mangement | 1808-C | Electrical Works |  |  |  | Pending | Orient Towers-TFM | Apt No 1808 | Chargeable
10021210 | 2026-05-19 | P3 | Plumbing Works - Plumbing - WC Seat Issue | Aqaar Community Mangement | 1808-C | Plumbing Works | 2026-05-19 |  | Muhammad Waqas Muhammad Raifan | Pending | Orient Towers-TFM | Apt No 1808 | Chargeable
10021211 | 2026-05-19 | P3 | Civil Works - civil - Tiles issue A1 P1 female gym Washroom floor tile repairing | Aqaar Community Mangement | Araki Abasher | Civil Works | 2026-05-19 |  | Babar Ameen | Pending | Orient Towers-TFM | Parking 1 | Non-Chargeable
10021212 | 2026-05-19 | P3 | Electrical Works - Electrical - Electrician required | Askaan Properties LLC | 501-AL | Electrical Works |  |  |  | Pending | Alia plaza-MEP | Apt No 501 | Chargeable
10021213 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Drainages blockage & Sink leakage | Askaan Properties LLC | 208-AW | Plumbing Works |  |  |  | Pending | Waqef 5-MEP | Apt No 208 | Chargeable
10021214 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues | Askaan Properties LLC | 405-AF | Plumbing Works |  |  |  | Pending | A & F Tower-MEP | Apt No 405 | Chargeable
10021215 | 2026-05-19 | P3 | Painting - painting - Painter required | Askaan Properties LLC | 405-AF | Painting |  |  |  | Pending | A & F Tower-MEP | Apt No 405 | Chargeable
10021216 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues Water is not good | Aqaar Community Mangement | 1103-GCM6 | Plumbing Works | 2026-05-19 |  | Kamal Hossain Kayser Chorider | Pending | Garden City-TFM | Apt No1103 | Chargeable
10021217 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 804-GCM6 | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No804 | Non-Chargeable
10021218 | 2026-05-19 | P3 | Plumbing Works - Plumbing - wc flush Tank crack. | Askaan Properties LLC | 905-RE | Plumbing Works |  |  |  | Pending | Al Raffa 2-MEP | Apt No 905 | Chargeable
10021219 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 1007-GCM4 | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No1007 B | Non-Chargeable
10021220 | 2026-05-19 | P3 | Ac issue B Shop no 22 0542250860 | Aqaar Community Mangement | Bada Gaye | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Ground Floor | Non-Chargeable
10021221 | 2026-05-19 | P3 | B 2104 AC not working | Aqaar Community Mangement | 2104-B | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 2104 | Chargeable
10021222 | 2026-05-19 | P1 | Raffa1 605 Water leakage in the bathroom | Saqr Real Estate | 605-RE1 | Plumbing Works |  |  |  | Pending | Al Raffa 1-MEP | Apt No 605 | Chargeable
10021223 | 2026-05-19 | P3 | Nuimia3 304 Ac Water leakage and not cooling 0505759374 Please check today | Askaan Properties LLC | 304-NU | HVAC systems |  |  |  | Pending | Nuiymeya 3-AC | Apt No 304 | Chargeable
10021224 | 2026-05-19 | P3 | Andal2 603 Exhaust fan is not working 0553432091 | Askaan Properties LLC | 603-AN2 | Electrical Works |  |  |  | Pending | Al Andalous Tower 2-MEP | Apt No 603 | Chargeable
10021225 | 2026-05-19 | P3 | Raffa1 903 Both Ac is not working 067417494 | Saqr Real Estate | 903-RE1 | HVAC systems |  |  |  | Pending | Al Raffa 1-AC | Apt No 903 | Chargeable
10021226 | 2026-05-19 | P3 | Raffa2 twins Caffe Ac is not working 0554149672 Please check | Askaan Properties LLC | Ousman Seid | HVAC systems |  |  |  | Pending | Al Raffa 2-AC | Ground Floor | Non-Chargeable
10021227 | 2026-05-19 | P3 | AF 301 Electrical Short 0506380838 | Askaan Properties LLC | 301-AF | Electrical Works |  |  |  | Pending | A & F Tower-MEP | Apt No 301 | Chargeable
10021228 | 2026-05-19 | P3 | Electrical Works - Electrical - Electrician required | Askaan Properties LLC | 1406-AN2 | Electrical Works |  |  |  | Pending | Al Andalous Tower 2-MEP | Apt No 1406 | Chargeable
10021229 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Saqr Real Estate | 906-RE1 | HVAC systems |  |  |  | Pending | Al Raffa 1-AC | Apt No 906 | Chargeable
10021230 | 2026-05-19 | P3 | Carpenter works - Carpentry - Carpenter required | Askaan Properties LLC | 403-AL | Carpenter works |  |  |  | Pending | Alia plaza-MEP | Apt No 403 | Chargeable
10021231 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Drainages blockage & Sink leakage | Saqr Real Estate | 1006-NA | Plumbing Works |  |  |  | Pending | Najim Building-MEP | Apt No 1006 | Chargeable
10021232 | 2026-05-19 | P1 | Plumbing Works - Plumbing - Water leakage 19th floor corridor area having a leakage from the PPR joints. | Askaan Properties LLC | Dennis Serraon Lubay | Plumbing Works |  |  |  | Pending | C1 Tower-TFM | Corridor | Non-Chargeable
10021233 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Bad Smell From The Drainage | Aqaar Community Mangement | 1706-C | Plumbing Works | 2026-05-20 |  | Safdar Ali | Pending | Orient Towers-TFM | Apt No 1706A1 | Chargeable
10021234 | 2026-05-19 | P3 | Andalus1 604 Ac is not cooling 0505993075 | Askaan Properties LLC | 604-AN1 | HVAC systems |  |  |  | Pending | Al Andalous Tower 1-AC | Apt No 604 | Chargeable
10021235 | 2026-05-19 | P3 | Waqef5 404 Plumbing Issue 065698762 | Askaan Properties LLC | 404-AW | Plumbing Works |  |  |  | Pending | Waqef 5-MEP | Apt No 404 | Chargeable
10021236 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC Issue | Aqaar Community Mangement | 906-A1 | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 906 | Chargeable
10021237 | 2026-05-19 | P3 | Electrical Works - Electrical - Exhausts fan not working | Askaan Properties LLC | 1305-AF | Electrical Works |  |  |  | Pending | A & F Tower-MEP | Apt No 1305 | Chargeable
10021238 | 2026-05-19 | P3 | Painting - painting - Painter required | Askaan Properties LLC | Dennis Serraon Lubay | Painting | 2026-05-19 |  | Abdul Raouf | Pending | C1 Tower-TFM | Corridor/stair case | Non-Chargeable
10021239 | 2026-05-19 | P3 | Housekeeping - Cleaning Process - Garbage Chute Inside Not Cleaned & Chute Door Not Closing | Aqaar Community Mangement | 1101-GCA1 | Housekeeping | 2026-05-19 |  | Anil Reddipet Balnarsu | Pending | Garden City-TFM | Apt No1101 B | Chargeable
10021240 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 1010-GCM5 | HVAC systems | 2026-05-20 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No1010 B | Non-Chargeable
10021241 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 108-GCM3 | HVAC systems | 2026-05-20 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No108 | Non-Chargeable

## Dashboard
Dashboard Overview
Injaaz Application – Report Generation
Generated: 23 May 2026 10:40
62 |  | 52 |  | 4
WORK ORDERS |  | PENDING |  | PRIORITY P1
58 |  | 3 |  | 16
PRIORITY P3 |  | CLIENTS |  | CONTRACTS
WORK ORDERS BY CLIENT |  |  |  | CHARGEABLE vs NON-CHARGEABLE
Aqaar Community Mangement | ██████████████████████████████ | 33 | 53.2% | Type | Count | Share
Askaan Properties LLC | ███████████████████ | 21 | 33.9% | Chargeable | 36 | 58.1%
Saqr Real Estate | ███████ | 8 | 12.9% | Non-Chargeable | 26 | 41.9%
|  |  |  | Total | 62 | 100%
WORK ORDERS BY CONTRACT
Orient Towers-TFM | ██████████████████████████████ | 19 | 30.6% | WORK ORDERS BY PRIORITY
Garden City-TFM | ██████████████████████ | 14 | 22.6% | Priority | Count | Share
A & F Tower-MEP | ████████ | 5 | 8.1% | P3 | 58 | 93.5%
C1 Tower-TFM | ████████ | 5 | 8.1% | P1 | 4 | 6.5%
Al Raffa 1-MEP | █████ | 3 | 4.8% | Total | 62 | 100%
Najim Building-MEP | ███ | 2 | 3.2%
Alia plaza-MEP | ███ | 2 | 3.2% | WORK ORDERS BY STATUS
Waqef 5-MEP | ███ | 2 | 3.2% | Status | Count | Share
Al Andalous Tower 2-MEP | ███ | 2 | 3.2% | Pending | 52 | 83.9%
Al Raffa 1-AC | ███ | 2 | 3.2% | Resolved | 10 | 16.1%
A & F Tower-AC | ██ | 1 | 1.6% | Total | 62 | 100%
Najim Building-AC | ██ | 1 | 1.6%
Al Raffa 2-MEP | ██ | 1 | 1.6%
Nuiymeya 3-AC | ██ | 1 | 1.6%
Al Raffa 2-AC | ██ | 1 | 1.6%
Al Andalous Tower 1-AC | ██ | 1 | 1.6%
BY SERVICE GROUP
HVAC systems | ██████████████████████████████ | 20 | 32.3%
Plumbing Works | ████████████████████ | 13 | 21.0%
Electrical Works | ██████████████████ | 12 | 19.4%
CCTV | ██████ | 4 | 6.5%
Painting | ██████ | 4 | 6.5%
Carpenter works | ████ | 3 | 4.8%
Civil Works | ████ | 3 | 4.8%
Housekeeping | ███ | 2 | 3.2%
Cable | ██ | 1 | 1.6%

## Chargeable Analysis
Chargeable / Non-Chargeable Analysis
Injaaz Application – Report Generation
Generated: 23 May 2026 10:40
|  |  | Chargeable |  | Non-Chargeable
Client | Contract | Service Group | Resolved | Pending | Resolved | Pending | Total
Aqaar Community Mangement | Garden City-TFM | Cable | 0 | 1 | 0 | 0 | 1
Aqaar Community Mangement | Garden City-TFM | Carpenter works | 0 | 1 | 0 | 0 | 1
Aqaar Community Mangement | Garden City-TFM | Electrical Works | 0 | 0 | 0 | 1 | 1
Aqaar Community Mangement | Garden City-TFM | HVAC systems | 0 | 0 | 7 | 1 | 8
Aqaar Community Mangement | Garden City-TFM | Housekeeping | 0 | 1 | 0 | 1 | 2
Aqaar Community Mangement | Garden City-TFM | Plumbing Works | 0 | 1 | 0 | 0 | 1
Aqaar Community Mangement | Orient Towers-TFM | CCTV | 0 | 0 | 0 | 4 | 4
Aqaar Community Mangement | Orient Towers-TFM | Carpenter works | 0 | 0 | 0 | 1 | 1
Aqaar Community Mangement | Orient Towers-TFM | Civil Works | 0 | 0 | 0 | 1 | 1
Aqaar Community Mangement | Orient Towers-TFM | Electrical Works | 0 | 2 | 0 | 2 | 4
Aqaar Community Mangement | Orient Towers-TFM | HVAC systems | 0 | 4 | 0 | 1 | 5
Aqaar Community Mangement | Orient Towers-TFM | Painting | 0 | 0 | 0 | 1 | 1
Aqaar Community Mangement | Orient Towers-TFM | Plumbing Works | 0 | 3 | 0 | 0 | 3
Askaan Properties LLC | A & F Tower-AC | HVAC systems | 0 | 1 | 0 | 0 | 1
Askaan Properties LLC | A & F Tower-MEP | Electrical Works | 0 | 2 | 0 | 0 | 2
Askaan Properties LLC | A & F Tower-MEP | Painting | 0 | 1 | 0 | 0 | 1
Askaan Properties LLC | A & F Tower-MEP | Plumbing Works | 0 | 2 | 0 | 0 | 2
Askaan Properties LLC | Al Andalous Tower 1-AC | HVAC systems | 0 | 1 | 0 | 0 | 1
Askaan Properties LLC | Al Andalous Tower 2-MEP | Electrical Works | 0 | 2 | 0 | 0 | 2
Askaan Properties LLC | Al Raffa 2-AC | HVAC systems | 0 | 0 | 0 | 1 | 1
Askaan Properties LLC | Al Raffa 2-MEP | Plumbing Works | 0 | 1 | 0 | 0 | 1
Askaan Properties LLC | Alia plaza-MEP | Carpenter works | 0 | 1 | 0 | 0 | 1
Askaan Properties LLC | Alia plaza-MEP | Electrical Works | 0 | 1 | 0 | 0 | 1
Askaan Properties LLC | C1 Tower-TFM | Civil Works | 0 | 0 | 2 | 0 | 2
Askaan Properties LLC | C1 Tower-TFM | Electrical Works | 0 | 0 | 1 | 0 | 1
Askaan Properties LLC | C1 Tower-TFM | Painting | 0 | 0 | 0 | 1 | 1
Askaan Properties LLC | C1 Tower-TFM | Plumbing Works | 0 | 0 | 0 | 1 | 1
Askaan Properties LLC | Nuiymeya 3-AC | HVAC systems | 0 | 1 | 0 | 0 | 1
Askaan Properties LLC | Waqef 5-MEP | Plumbing Works | 0 | 2 | 0 | 0 | 2
Saqr Real Estate | Al Raffa 1-AC | HVAC systems | 0 | 2 | 0 | 0 | 2
Saqr Real Estate | Al Raffa 1-MEP | Painting | 0 | 1 | 0 | 0 | 1
Saqr Real Estate | Al Raffa 1-MEP | Plumbing Works | 0 | 2 | 0 | 0 | 2
Saqr Real Estate | Najim Building-AC | HVAC systems | 0 | 1 | 0 | 0 | 1
Saqr Real Estate | Najim Building-MEP | Electrical Works | 0 | 1 | 0 | 0 | 1
Saqr Real Estate | Najim Building-MEP | Plumbing Works | 0 | 1 | 0 | 0 | 1
GRAND TOTAL
Chargeable Total
Non-Chargeable Total

## Chargeable by Project
Chargeable by Project
Injaaz Application – Report Generation
Generated: 23 May 2026 10:40
Askaan + Saqr Projects
Service Name | Chargeable
| Resolved | Pending
Carpenter works | 0 | 1
Electrical Works | 0 | 6
HVAC systems | 0 | 6
Painting | 0 | 2
Plumbing Works | 0 | 8
Total | 0 | 23
23
Orient Tower - TFM
Service Name | Chargeable
| Resolved | Pending
Electrical Works | 0 | 2
HVAC systems | 0 | 4
Plumbing Works | 0 | 3
Total | 0 | 9
9
Garden City - TFM
Service Name | Chargeable
| Resolved | Pending
Cable | 0 | 1
Carpenter works | 0 | 1
Housekeeping | 0 | 1
Plumbing Works | 0 | 1
Total | 0 | 4
4

## Garden City-TFM
Garden City-TFM
Injaaz Application – Report Generation
Generated: 23 May 2026 10:40
WorkOrder No | Reported Date | Priority | Work Description | Client | Reported By | Service Group | Assigned Date | Work Start Date | Closed By | Status | Contract | BaseUnit | Space
10021181 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 510-GCM1 | HVAC systems | 2026-05-19 |  | ATLASHVACGC2 | Pending | Garden City-TFM | Apt No510 B | Non-Chargeable
10021183 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | Mankesh Kumar Singh | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No501 | Non-Chargeable
10021189 | 2026-05-19 | P3 | M5 LV room ac need service | Aqaar Community Mangement | Mankesh Kumar Singh | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Ground Floor | Non-Chargeable
10021190 | 2026-05-19 | P3 | J9 406 need carpenter | Aqaar Community Mangement | Shakeel Mohammad | Carpenter works | 2026-05-19 |  | Baidda Sarker Nimal Sarker | Pending | Garden City-TFM | APT NO 406-B | Chargeable
10021197 | 2026-05-19 | P3 | Housekeeping - Cleaning Process - Garbage Chute Inside Not Cleaned & Chute Door Not Closing | Aqaar Community Mangement | Arshith Swaminath | Housekeeping | 2026-05-19 |  | Anil Reddipet Balnarsu | Pending | Garden City-TFM | 2nd Floor | Non-Chargeable
10021199 | 2026-05-19 | P3 | Electrical Works - Electrical - corridor light not working | Aqaar Community Mangement | 302-GCM6 | Electrical Works | 2026-05-19 |  | Aslam Miah Omar Ali | Pending | Garden City-TFM | 3rd Floor | Non-Chargeable
10021200 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 102-GCJ6 | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | APT NO 102 -H | Non-Chargeable
10021205 | 2026-05-19 | P1 | Cable - Internet - Internet cable Issue | Aqaar Community Mangement | Jaser | Cable | 2026-05-19 |  | Sandeep Vishwakarma | Pending | Garden City-TFM | Apt No507 | Chargeable
10021216 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues Water is not good | Aqaar Community Mangement | 1103-GCM6 | Plumbing Works | 2026-05-19 |  | Kamal Hossain Kayser Chorider | Pending | Garden City-TFM | Apt No1103 | Chargeable
10021217 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 804-GCM6 | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No804 | Non-Chargeable
10021219 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 1007-GCM4 | HVAC systems | 2026-05-19 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No1007 B | Non-Chargeable
10021239 | 2026-05-19 | P3 | Housekeeping - Cleaning Process - Garbage Chute Inside Not Cleaned & Chute Door Not Closing | Aqaar Community Mangement | 1101-GCA1 | Housekeeping | 2026-05-19 |  | Anil Reddipet Balnarsu | Pending | Garden City-TFM | Apt No1101 B | Chargeable
10021240 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 1010-GCM5 | HVAC systems | 2026-05-20 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No1010 B | Non-Chargeable
10021241 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Aqaar Community Mangement | 108-GCM3 | HVAC systems | 2026-05-20 | 2026-05-20 | ATLASHVACGC2 | Resolved | Garden City-TFM | Apt No108 | Non-Chargeable

## Orient Towers-TFM
Orient Towers-TFM
Injaaz Application – Report Generation
Generated: 23 May 2026 10:40
WorkOrder No | Reported Date | Priority | Work Description | Client | Reported By | Service Group | Assigned Date | Work Start Date | Closed By | Status | Contract | BaseUnit | Space
10021179 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues | Aqaar Community Mangement | Araki Abasher | Plumbing Works | 2026-05-19 |  | Muhammad Waqas Muhammad Raifan | Pending | Orient Towers-TFM | Apt No 1107 | Chargeable
10021180 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC Issue | Aqaar Community Mangement | Araki Abasher | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 2014 | Chargeable
10021184 | 2026-05-19 | P3 | Tower B DVR - 21 lift 2 camera not working DVR 1 monitor screen not working. DVR - 22 garden area monitor screen not working. DVR - 22 and 23 2 nos garden area camera not working | Aqaar Community Mangement | Araki Abasher | CCTV |  |  |  | Pending | Orient Towers-TFM | CCTV room | Non-Chargeable
10021185 | 2026-05-19 | P3 | Tower A1 DVR - 2 lift 3 and 4 camera not working DVR - 4 monitor screen not working. | Aqaar Community Mangement | Araki Abasher | CCTV |  |  |  | Pending | Orient Towers-TFM | Telephone Room CCTV Room | Non-Chargeable
10021186 | 2026-05-19 | P3 | Tower C DVR- 2 lift 3 camera not working. DVR - 1, 6 and 7 monitor screen not working. | Aqaar Community Mangement | Araki Abasher | CCTV |  |  |  | Pending | Orient Towers-TFM | CCTV Room | Non-Chargeable
10021187 | 2026-05-19 | P3 | Tower A2 DVR 5 P2 parking area camera not working | Aqaar Community Mangement | Araki Abasher | CCTV |  |  |  | Pending | Orient Towers-TFM | Telephone Room CCTV Room | Non-Chargeable
10021188 | 2026-05-19 | P3 | B 909A AC not cooling | Aqaar Community Mangement | Araki Abasher | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 909A | Chargeable
10021201 | 2026-05-19 | P3 | Painting - painting - Painter required B P1 lift lobby Painting work | Aqaar Community Mangement | Araki Abasher | Painting |  |  |  | Pending | Orient Towers-TFM | Parking 1 | Non-Chargeable
10021202 | 2026-05-19 | P3 | Electrical Works - Electrical - Light Replacement A2 14th 15th water meter Room Lights replacement | Aqaar Community Mangement | Araki Abasher | Electrical Works |  |  |  | Pending | Orient Towers-TFM | 14th Floor | Non-Chargeable
10021203 | 2026-05-19 | P3 | Electrical Works - Electrical - Light Replacement C 10th floor water meter room Light replacement | Aqaar Community Mangement | Araki Abasher | Electrical Works |  |  |  | Pending | Orient Towers-TFM | 10th Floor | Non-Chargeable
10021204 | 2026-05-19 | P3 | Carpenter works - Carpentry - Carpenter required B 19th staircase Ducts grill repairing | Aqaar Community Mangement | Araki Abasher | Carpenter works |  |  |  | Pending | Orient Towers-TFM | 19th Floor | Non-Chargeable
10021206 | 2026-05-19 | P3 | B 812 Electrical issue | Aqaar Community Mangement | 812-B | Electrical Works |  |  |  | Pending | Orient Towers-TFM | Apt No 812 | Chargeable
10021209 | 2026-05-19 | P3 | Electrical Works - Electrical - Electrician required - Electrical switch issue | Aqaar Community Mangement | 1808-C | Electrical Works |  |  |  | Pending | Orient Towers-TFM | Apt No 1808 | Chargeable
10021210 | 2026-05-19 | P3 | Plumbing Works - Plumbing - WC Seat Issue | Aqaar Community Mangement | 1808-C | Plumbing Works | 2026-05-19 |  | Muhammad Waqas Muhammad Raifan | Pending | Orient Towers-TFM | Apt No 1808 | Chargeable
10021211 | 2026-05-19 | P3 | Civil Works - civil - Tiles issue A1 P1 female gym Washroom floor tile repairing | Aqaar Community Mangement | Araki Abasher | Civil Works | 2026-05-19 |  | Babar Ameen | Pending | Orient Towers-TFM | Parking 1 | Non-Chargeable
10021220 | 2026-05-19 | P3 | Ac issue B Shop no 22 0542250860 | Aqaar Community Mangement | Bada Gaye | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Ground Floor | Non-Chargeable
10021221 | 2026-05-19 | P3 | B 2104 AC not working | Aqaar Community Mangement | 2104-B | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 2104 | Chargeable
10021233 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Bad Smell From The Drainage | Aqaar Community Mangement | 1706-C | Plumbing Works | 2026-05-20 |  | Safdar Ali | Pending | Orient Towers-TFM | Apt No 1706A1 | Chargeable
10021236 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC Issue | Aqaar Community Mangement | 906-A1 | HVAC systems | 2026-05-19 |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 906 | Chargeable

## Askaan Properties LLC
Askaan Properties LLC
Injaaz Application – Report Generation
Generated: 23 May 2026 10:40
WorkOrder No | Reported Date | Priority | Work Description | Client | Reported By | Service Group | Assigned Date | Work Start Date | Closed By | Status | Contract | BaseUnit | Space
10021191 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues | Askaan Properties LLC | 1205-AF | Plumbing Works |  |  |  | Pending | A & F Tower-MEP | Apt No 1205 | Chargeable
10021192 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Askaan Properties LLC | 1205-AF | HVAC systems |  |  |  | Pending | A & F Tower-AC | Apt No 1205 | Chargeable
10021194 | 2026-05-19 | P3 | Electrical Works - Electrical - Light Replacement | Askaan Properties LLC | Dennis Serraon Lubay | Electrical Works | 2026-05-19 | 2026-05-19 | Mustafa Shaik | Resolved | C1 Tower-TFM | Exit/ Entry | Non-Chargeable
10021195 | 2026-05-19 | P3 | Civil Works - civil - Tiles issue 12th floor wall tiles require for repair | Askaan Properties LLC | Dennis Serraon Lubay | Civil Works | 2026-05-19 | 2026-05-19 | Mustafa Shaik | Resolved | C1 Tower-TFM | Corridor/stair case | Non-Chargeable
10021196 | 2026-05-19 | P3 | Civil Works - Glass Doors - Glass door hinge damaged/malfuctntioning main entrance glass door pivot hinges replacement | Askaan Properties LLC | Dennis Serraon Lubay | Civil Works | 2026-05-19 | 2026-05-19 | Abdul Raouf | Resolved | C1 Tower-TFM | Exit/ Entry | Non-Chargeable
10021212 | 2026-05-19 | P3 | Electrical Works - Electrical - Electrician required | Askaan Properties LLC | 501-AL | Electrical Works |  |  |  | Pending | Alia plaza-MEP | Apt No 501 | Chargeable
10021213 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Drainages blockage & Sink leakage | Askaan Properties LLC | 208-AW | Plumbing Works |  |  |  | Pending | Waqef 5-MEP | Apt No 208 | Chargeable
10021214 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues | Askaan Properties LLC | 405-AF | Plumbing Works |  |  |  | Pending | A & F Tower-MEP | Apt No 405 | Chargeable
10021215 | 2026-05-19 | P3 | Painting - painting - Painter required | Askaan Properties LLC | 405-AF | Painting |  |  |  | Pending | A & F Tower-MEP | Apt No 405 | Chargeable
10021218 | 2026-05-19 | P3 | Plumbing Works - Plumbing - wc flush Tank crack. | Askaan Properties LLC | 905-RE | Plumbing Works |  |  |  | Pending | Al Raffa 2-MEP | Apt No 905 | Chargeable
10021223 | 2026-05-19 | P3 | Nuimia3 304 Ac Water leakage and not cooling 0505759374 Please check today | Askaan Properties LLC | 304-NU | HVAC systems |  |  |  | Pending | Nuiymeya 3-AC | Apt No 304 | Chargeable
10021224 | 2026-05-19 | P3 | Andal2 603 Exhaust fan is not working 0553432091 | Askaan Properties LLC | 603-AN2 | Electrical Works |  |  |  | Pending | Al Andalous Tower 2-MEP | Apt No 603 | Chargeable
10021226 | 2026-05-19 | P3 | Raffa2 twins Caffe Ac is not working 0554149672 Please check | Askaan Properties LLC | Ousman Seid | HVAC systems |  |  |  | Pending | Al Raffa 2-AC | Ground Floor | Non-Chargeable
10021227 | 2026-05-19 | P3 | AF 301 Electrical Short 0506380838 | Askaan Properties LLC | 301-AF | Electrical Works |  |  |  | Pending | A & F Tower-MEP | Apt No 301 | Chargeable
10021228 | 2026-05-19 | P3 | Electrical Works - Electrical - Electrician required | Askaan Properties LLC | 1406-AN2 | Electrical Works |  |  |  | Pending | Al Andalous Tower 2-MEP | Apt No 1406 | Chargeable
10021230 | 2026-05-19 | P3 | Carpenter works - Carpentry - Carpenter required | Askaan Properties LLC | 403-AL | Carpenter works |  |  |  | Pending | Alia plaza-MEP | Apt No 403 | Chargeable
10021232 | 2026-05-19 | P1 | Plumbing Works - Plumbing - Water leakage 19th floor corridor area having a leakage from the PPR joints. | Askaan Properties LLC | Dennis Serraon Lubay | Plumbing Works |  |  |  | Pending | C1 Tower-TFM | Corridor | Non-Chargeable
10021234 | 2026-05-19 | P3 | Andalus1 604 Ac is not cooling 0505993075 | Askaan Properties LLC | 604-AN1 | HVAC systems |  |  |  | Pending | Al Andalous Tower 1-AC | Apt No 604 | Chargeable
10021235 | 2026-05-19 | P3 | Waqef5 404 Plumbing Issue 065698762 | Askaan Properties LLC | 404-AW | Plumbing Works |  |  |  | Pending | Waqef 5-MEP | Apt No 404 | Chargeable
10021237 | 2026-05-19 | P3 | Electrical Works - Electrical - Exhausts fan not working | Askaan Properties LLC | 1305-AF | Electrical Works |  |  |  | Pending | A & F Tower-MEP | Apt No 1305 | Chargeable
10021238 | 2026-05-19 | P3 | Painting - painting - Painter required | Askaan Properties LLC | Dennis Serraon Lubay | Painting | 2026-05-19 |  | Abdul Raouf | Pending | C1 Tower-TFM | Corridor/stair case | Non-Chargeable

## Saqr Real Estate
Saqr Real Estate
Injaaz Application – Report Generation
Generated: 23 May 2026 10:40
WorkOrder No | Reported Date | Priority | Work Description | Client | Reported By | Service Group | Assigned Date | Work Start Date | Closed By | Status | Contract | BaseUnit | Space
10021193 | 2026-05-19 | P1 | HVAC systems - Air Conditioner - AC water leakage | Saqr Real Estate | 501-NA | HVAC systems |  |  |  | Pending | Najim Building-AC | Apt No 501 | Chargeable
10021198 | 2026-05-19 | P3 | Electrical Works - Electrical - Electrician required | Saqr Real Estate | 407-NA | Electrical Works |  |  |  | Pending | Najim Building-MEP | Apt No 407 | Chargeable
10021207 | 2026-05-19 | P3 | Painting - painting - Painter required | Saqr Real Estate | 901-RE1 | Painting |  |  |  | Pending | Al Raffa 1-MEP | Apt No 901 | Chargeable
10021208 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Plumbing issues | Saqr Real Estate | 901-RE1 | Plumbing Works |  |  |  | Pending | Al Raffa 1-MEP | Apt No 901 | Chargeable
10021222 | 2026-05-19 | P1 | Raffa1 605 Water leakage in the bathroom | Saqr Real Estate | 605-RE1 | Plumbing Works |  |  |  | Pending | Al Raffa 1-MEP | Apt No 605 | Chargeable
10021225 | 2026-05-19 | P3 | Raffa1 903 Both Ac is not working 067417494 | Saqr Real Estate | 903-RE1 | HVAC systems |  |  |  | Pending | Al Raffa 1-AC | Apt No 903 | Chargeable
10021229 | 2026-05-19 | P3 | HVAC systems - Air Conditioner - AC is not working | Saqr Real Estate | 906-RE1 | HVAC systems |  |  |  | Pending | Al Raffa 1-AC | Apt No 906 | Chargeable
10021231 | 2026-05-19 | P3 | Plumbing Works - Plumbing - Drainages blockage & Sink leakage | Saqr Real Estate | 1006-NA | Plumbing Works |  |  |  | Pending | Najim Building-MEP | Apt No 1006 | Chargeable