## Review - 94 rows
Month | WorkOrder No | Reported Date | Client | Contract | Zone | BaseUnit | Type | Service Group | Work Description | Status | Proposed
2026-01 | 10015907 | 05-Jan-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 105 | Office | Carpenter works | Carpenter works - Carpentry - Carpenter required | Pending | Chargeable
2026-01 | 10015979 | 07-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-307 (B) | Apartment | Irrigation systems | Irrigation systems - Sprinklers & emitters - 13mm pipe damages - 307 fire sprinkler damage | Resolved | Chargeable
2026-01 | 10015997 | 07-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT 1410 | Apartment | Civil Works | Civil Works - civil - Floor grouting issue | Resolved | Chargeable
2026-01 | 10015998 | 07-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT 201 | Apartment | Plumbing Works | Plumbing systems - Plumbing - Water leakage | Resolved | Chargeable
2026-01 | 10016021 | 08-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1512 (B) | Apartment | Civil Works | Civil Works - civil - Floor grouting issue Flat 1512 Wash room need grouting | Resolved | Chargeable
2026-01 | 10016022 | 08-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2109 (B) | Apartment | Civil Works | Civil Works - civil - Floor grouting issue Flat 2109 Wash room grouting | Resolved | Chargeable
2026-01 | 10016023 | 08-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-307 (B) | Apartment | Plumbing Works | Water Features - Plumbing - Bath room water heater water leaking. | Resolved | Chargeable
2026-01 | 10016024 | 08-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-111 | Apartment | Electrical Works | Electrical Works - Electrical - Electrician required Flat 111 Kitchen electric issue | Resolved | Chargeable
2026-01 | 10016025 | 08-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1904 | Apartment | Electrical Works | Electrical Works - Electrical - Door Cylinder Repairing Flat 1904 Door cylinder change | Resolved | Chargeable
2026-01 | 10016061 | 10-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT 210 | Apartment | Plumbing Works | Water Features - Plumbing - Bath room water heater not working. Flat 210 Water heater not working 0585990715 | Resolved | Chargeable
2026-01 | 10016146 | 12-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-110 | Apartment | Civil Works | Civil Works - civil - Floor grouting issue | Resolved | Chargeable
2026-01 | 10016147 | 12-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1609 (B) | Apartment | Carpenter works | Carpenter works - Carpentry - entrance main door issue | Resolved | Chargeable
2026-01 | UAT10014144 | 13-Jan-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT 1001 | Apartment | Access Control | Test | Pending | Chargeable
2026-01 | 10016293 | 20-Jan-2026 | Askaan Properties LLC | Waqef 5-MEP | AWQAF5 | Shop No 8 | Shop | Plumbing Works | Awqaf5 shop#8 Low Water Pressure 0547470419 | Pending | Chargeable
2026-01 | 10016598 | 31-Jan-2026 | Askaan Properties LLC | Waqef 5-MEP | AWQAF5 | Shop No 11 | Shop | Electrical Works | Awqaf5 Shop11 Electrical Short 0556480813 | Pending | Chargeable
2026-02 | 10016939 | 10-Feb-2026 | Askaan Properties LLC | A & F Tower-AC | A&F Tower | Office No 107 | Office | HVAC systems | HVAC systems - Air Conditioner - AC Issue | Pending | Chargeable
2026-02 | 10017292 | 18-Feb-2026 | Askaan Properties LLC | A & F Tower-AC | A&F Tower | Office No 104 | Office | HVAC systems | HVAC systems - Air Conditioner - AC is not cooling | Pending | Chargeable
2026-02 | 10017325 | 19-Feb-2026 | Askaan Properties LLC | A & F Tower-AC | A&F Tower | Office No 104 | Office | HVAC systems | HVAC systems - Air Conditioner - AC Issue | Pending | Chargeable
2026-02 | 10016701 | 03-Feb-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 105 | Office | Plumbing Works | Water Features - Plumbing - Drainage blockage | Pending | Chargeable
2026-02 | 10016851 | 08-Feb-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 101 | Office | Electrical Works | Electrical Works - Electrical - Electrician required | Pending | Chargeable
2026-02 | 10016852 | 08-Feb-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 101 | Office | Plumbing Works | Water Features - Plumbing - Plumbing issues | Pending | Chargeable
2026-02 | 10017314 | 19-Feb-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 101 | Office | Plumbing Works | Water Features - Plumbing - Plumbing issues | Pending | Chargeable
2026-02 | 10016725 | 04-Feb-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-807 (B) | Apartment | Plumbing Works | Plumbing systems - Plumbing - Water leakage | Resolved | Chargeable
2026-02 | 10016726 | 04-Feb-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1405 (B) | Apartment | Plumbing Works | Plumbing systems - Plumbing - Water leakage | Resolved | Chargeable
2026-02 | 10016985 | 11-Feb-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2312 (B) | Apartment | SMA TV | SMA TV - SMA TV - SMA TV Issue | Resolved | Chargeable
2026-02 | 10017049 | 12-Feb-2026 | Askaan Properties LLC | Nuiymeya 3-Elevator | Nuiymeya 3 | Apt No 203 | Apartment | Elevater system | Nuimya3 203 Elevator Stack 4th floor - URGENT 0555410055 | Pending | Non-Chargeable (elevator rule)
2026-02 | 10016777 | 05-Feb-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 9 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-03 | 10018932 | 30-Mar-2026 | Askaan Properties LLC | A & F Tower-AC | A&F Tower | Office No 108 | Office | HVAC systems | HVAC systems - Air Conditioner - AC Issue | Pending | Chargeable
2026-03 | 10018052 | 12-Mar-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 105 | Office | Plumbing Works | AF 105 Water leakage in the bathroom 0569384511 | Pending | Chargeable
2026-03 | 10018338 | 18-Mar-2026 | Askaan Properties LLC | Al Andalous Tower 2-AC | Al Andalous 2 | Shop 3 | Shop | HVAC systems | Andloues2 Shop number3 AC not working 0582388714 | Pending | Chargeable
2026-03 | 10018508 | 24-Mar-2026 | Askaan Properties LLC | Al Shaali Building-AC | Al Shaali Building | Apt No (G - 01) | Apartment | HVAC systems | HVAC systems - Air Conditioner - AC Issue | Pending | Chargeable
2026-03 | 10017714 | 03-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-607 (B) | Apartment | SMA TV | 607 tv signal problem | Resolved | Chargeable
2026-03 | 10017928 | 09-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-111 | Apartment | Plumbing Works | Water Features - Plumbing - Plumbing issues | Resolved | Chargeable
2026-03 | 10017929 | 09-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1812 (B) | Apartment | Plumbing Works | Water Features - Plumbing - Plumbing issues | Resolved | Chargeable
2026-03 | 10017930 | 09-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-110 | Apartment | Plumbing Works | Water Features - Plumbing - Plumbing issues | Resolved | Chargeable
2026-03 | 10017933 | 09-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-607 (B) | Apartment | SMA TV | SMA TV - SMA TV - SMA TV Issue | Resolved | Chargeable
2026-03 | 10018002 | 11-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2408 | Apartment | Civil Works | Civil Works - civil - Civil Work Required | Resolved | Chargeable
2026-03 | 10018042 | 12-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-110 | Apartment | Housekeeping | Cleaning - General Services - cleaning C1 flat 110 inside apartment 1BHK cleaning required | Resolved | Chargeable
2026-03 | 10018046 | 12-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1910 | Apartment | Civil Works | C1 flat 1910 civil work required | Resolved | Chargeable
2026-03 | 10018345 | 18-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2308 | Apartment | Electrical Works | Electrical Works - Electrical - Electrical Issue | Resolved | Chargeable
2026-03 | 10018376 | 22-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-607 (B) | Apartment | SMA TV | SMA TV - SMA TV - SMA TV Issue C1 I check outside satellite working, Issues from apartment inside But not response 607 SMA Tv | Resolved | Chargeable
2026-03 | 10018416 | 22-Mar-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1213 | Apartment | Carpenter works | Carpenter works - Carpentry - Carpenter required | Resolved | Chargeable
2026-03 | 10018350 | 22-Mar-2026 | Saqr Real Estate | Najim Building-MEP | Najim Building | Shop No 1 | Shop | Electrical Works | Electrical Works - Electrical - Light Replacement Aim spa center light not working | Pending | Chargeable
2026-03 | 10018173 | 16-Mar-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 1 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-03 | 10018268 | 17-Mar-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 8 | Shop | HVAC systems | Awkaf5 shop 8 AC not working 0559748906 | Pending | Chargeable
2026-03 | 10018961 | 30-Mar-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 10 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-03 | 10018267 | 17-Mar-2026 | Askaan Properties LLC | Waqef 5-MEP | AWQAF5 | Shop No 9 | Shop | Plumbing Works | Plumbing Works - Plumbing - Sink Issue | Pending | Chargeable
2026-04 | 10020281 | 29-Apr-2026 | Askaan Properties LLC | A & F Tower-AC | A&F Tower | Office No 101 | Office | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-04 | 10019203 | 04-Apr-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 101 | Office | Plumbing Works | Plumbing Works - Plumbing - Plumbing issues | Pending | Chargeable
2026-04 | 10020329 | 30-Apr-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 105 | Office | Plumbing Works | Plumbing Works - Plumbing - Drainage blockage | Pending | Chargeable
2026-04 | 10019055 | 01-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-612 (B) | Apartment | Plumbing Works | Plumbing Works - Plumbing - Plumbing issues | Resolved | Chargeable
2026-04 | 10019165 | 04-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1904 | Apartment | Plumbing Works | Plumbing Works - Plumbing - Plumbing issues | Resolved | Chargeable
2026-04 | 10019166 | 04-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1904 | Apartment | Carpenter works | Carpenter works - Carpentry - Carpenter required | Resolved | Chargeable
2026-04 | 10019299 | 06-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2312 (B) | Apartment | SMA TV | SMA TV - SMA TV - SMA TV Issue | Resolved | Chargeable
2026-04 | 10019300 | 06-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT- 1202 (B) | Apartment | SMA TV | SMA TV - SMA TV - SMA TV Issue | Resolved | Chargeable
2026-04 | 10019303 | 06-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-513 | Apartment | Plumbing Works | Plumbing Works - Plumbing - Drainage blockage | Resolved | Chargeable
2026-04 | 10019346 | 07-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2112 (B) | Apartment | Plumbing Works | Plumbing Works - Plumbing - Water leakage | Resolved | Chargeable
2026-04 | 10019347 | 07-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2107 (B) | Apartment | Carpenter works | Carpenter works - Carpentry - entrance main door issue | Resolved | Chargeable
2026-04 | 10019451 | 11-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2103 | Apartment | Electrical Works | Electrical Works - Electrical - Light Replacement Bed room light not working | Resolved | Chargeable
2026-04 | 10019633 | 15-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1009 (B) | Apartment | Plumbing Works | Plumbing Works - Plumbing - Drainage blockage | Resolved | Chargeable
2026-04 | 10019786 | 20-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1014 (B) | Apartment | Electrical Works | Electrical Works - Electrical - Electrician required | Resolved | Chargeable
2026-04 | 10019787 | 20-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-406 | Apartment | Electrical Works | Electrical Works - Electrical - Mirror light replacement | Resolved | Chargeable
2026-04 | 10019879 | 22-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-1110 | Apartment | Electrical Works | Electrical Works - Electrical - Kitchen light not working | Resolved | Chargeable
2026-04 | 10020044 | 25-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-106 | Apartment | Plumbing Works | Plumbing Works - Plumbing - Plumbing issues | Resolved | Chargeable
2026-04 | 10020177 | 27-Apr-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2212 (B) | Apartment | Plumbing Works | Plumbing Works - Plumbing - Drainage blockage | Resolved | Chargeable
2026-04 | 10019369 | 08-Apr-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 6 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-04 | 10019679 | 16-Apr-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 1 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-04 | 10019258 | 06-Apr-2026 | Askaan Properties LLC | Waqef 5-MEP | AWQAF5 | Shop No 6 | Shop | Plumbing Works | Plumbing Works - Plumbing - Plumbing issues | Pending | Chargeable
2026-04 | 10019410 | 08-Apr-2026 | Askaan Properties LLC | Waqef 5-MEP | AWQAF5 | Shop No 1 | Shop | Civil Works | Civil Works - civil - Ceramic Issue Awkaf5 Alustora salon need to change ceramic | Resolved | Chargeable
2026-05 | 10020395 | 02-May-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 104 | Office | Electrical Works | Electrical Works - Electrical - Electrical short | Pending | Chargeable
2026-05 | 10020512 | 04-May-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 101 | Office | Carpenter works | Carpenter works - Carpentry - Window glass broken | Pending | Chargeable
2026-05 | 10020978 | 14-May-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 106 | Office | Civil Works | Civil Works - civil - Humidity Issue | Pending | Chargeable
2026-05 | 10021286 | 20-May-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 105 | Office | Plumbing Works | Plumbing Works - Plumbing - Plumbing issues | Pending | Chargeable
2026-05 | 10020645 | 07-May-2026 | Askaan Properties LLC | Askaan office-LS | Askaan Office | GM Office | Office | HVAC systems | Askaan Office Ac is not working 067409532 | Pending | Chargeable
2026-05 | 10020457 | 03-May-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 3 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-05 | 10020998 | 14-May-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 2 | Shop | HVAC systems | Awqaf5 Shop#2, Ac is not working 0505353917 | Pending | Chargeable
2026-05 | 10020999 | 14-May-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 3 | Shop | HVAC systems | Awqaf5 Shop#3 Ac is not working 0505353917 | Pending | Chargeable
2026-05 | 10021000 | 14-May-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 4 | Shop | HVAC systems | Awqaf5 Shop#4 Ac is not working 0505353917 | Pending | Chargeable
2026-05 | 10021270 | 20-May-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 8 | Shop | HVAC systems | Awqaf5 Shop 8 Ac cooling and Leakage Issue 0547470419 | Pending | Chargeable
2026-05 | 10021569 | 31-May-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 8 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC water leakage | Pending | Chargeable
2026-06 | 10022423 | 14-Jun-2026 | Askaan Properties LLC | A & F Tower-AC | A&F Tower | Office No 101 | Office | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-06 | 10023043 | 25-Jun-2026 | Askaan Properties LLC | A & F Tower-AC | A&F Tower | Office No 105 | Office | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-06 | 10021664 | 01-Jun-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 104 | Office | Carpenter works | Carpenter works - Carpentry - Carpenter required | Pending | Chargeable
2026-06 | 10021894 | 04-Jun-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 105 | Office | Plumbing Works | Plumbing Works - Plumbing - Plumbing issues | Pending | Chargeable
2026-06 | 10022559 | 17-Jun-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 101 | Office | Electrical Works | Electrical Works - Electrical - Electrician required | Pending | Chargeable
2026-06 | 10023044 | 25-Jun-2026 | Askaan Properties LLC | A & F Tower-MEP | A&F Tower | Office No 105 | Office | Plumbing Works | Plumbing Works - Plumbing - Plumbing issues | Pending | Chargeable
2026-06 | 10022600 | 18-Jun-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-103 | Apartment | Plumbing Works | Plumbing Works - Plumbing - Drainage blockage Having a drainage blockage from 103,104,105,106 and 107 from P4 drainage line | Resolved | Chargeable
2026-06 | 10023065 | 26-Jun-2026 | Askaan Properties LLC | C1 Tower-TFM | Fortune Residency Tower C1 | APT-2214 (B) | Apartment | Plumbing Works | 2214 water leaking from kitchen ceiling | Resolved | Chargeable
2026-06 | 10021720 | 02-Jun-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 5 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-06 | 10021731 | 02-Jun-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 5 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC water leakage | Pending | Chargeable
2026-06 | 10021779 | 02-Jun-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 6 | Shop | HVAC systems | Awqaf5 Shop 6 Ac is not working 0552647249 | Pending | Chargeable
2026-06 | 10022226 | 10-Jun-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 8 | Shop | HVAC systems | Awqaf5 shop8 AC water leakage 0526487987 | Pending | Chargeable
2026-06 | 10022822 | 23-Jun-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 7 | Shop | HVAC systems | HVAC systems - Air Conditioner - AC is not working | Pending | Chargeable
2026-06 | 10022952 | 24-Jun-2026 | Askaan Properties LLC | Waqef 5-AC | AWQAF5 | Shop No 1 | Shop | HVAC systems | Awqaf5 Shop 12 Ac is not working 0505353917 | Pending | Chargeable