## Select Contract
Contract
A & F Tower-MEP
Al Andalous Tower 1-MEP
Al Andalous Tower 2-MEP
Al Andalous Tower 3-AC
Al Andalous Tower 3-MEP
Al Raffa 2-AC
Al Raffa 2-MEP
Alia plaza-AC
Alia plaza-MEP
Garden City-TFM
Najim Building-MEP
Nuiymeya 3-AC
Nuiymeya 3-MEP
Orient Towers-TFM
Waqef 5-MEP
parmFromDate
2/23/2026 12:00:00 AM
parmToDate
2/23/2026 12:00:00 AM

## Reactive Workorder Details
WorkOrder No | Reported Date | Priority | Work Description | Client | Reported By | Service Group | Assigned Date | Work Start Date | Closed By | Status | Contract | BaseUnit | Space
10017465 | 2026-02-23 | P3 | Electrical Works - Electrical - Electrician required | Aqaar Community Mangement | Araki Abasher | Electrical Works |  |  | Bal Bahadur Gurung | Pending | Orient Towers-TFM | new appt 606A1 | Chargebale
10017466 | 2026-02-23 | P1 | Elevater system - Elevator - Elevator is not working B tower L-6 elevator not working | Aqaar Community Mangement | Araki Abasher | Elevater system |  |  |  | Pending | Orient Towers-TFM | Ground Floor | Non-Chargebale
10017467 | 2026-02-23 | P3 | Civil Works - civil - Sink marble broken B Tower ground floor female washroom washbasin marble need to fix | Aqaar Community Mangement | Babar Ameen | Civil Works |  |  | Safdar Ali | Pending | Orient Towers-TFM | Ground Floor | Non-Chargebale
10017468 | 2026-02-23 | P1 | Water Features - Plumbing - Water leakage from ceiling | Aqaar Community Mangement | 1001-GCA5 | Water Features |  |  |  | Pending | Garden City-TFM | Apt No1001 H | Chargebale
10017469 | 2026-02-23 | P3 | Water Features - Plumbing - Sink Issue A1 504 Kitchen sink replacement | Aqaar Community Mangement | Araki Abasher | Water Features |  | 2026-02-24 | Muhammad Waqas Muhammad Raifan | Pending | Orient Towers-TFM | Apt No 504 | Chargebale
10017470 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC Issue | Aqaar Community Mangement | 301-GCJ8 | HVAC systems |  |  | ATLASHVACGC2 | Pending | Garden City-TFM | APT NO 301 | Chargebale
10017471 | 2026-02-23 | P1 | HVAC systems - Air Conditioner - AC water leakage C.tower GF reception Area AC water leakage | Aqaar Community Mangement | Araki Abasher | HVAC systems |  |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Ground Floor | Non-Chargebale
10017472 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 304-NU | Water Features |  |  |  | Pending | Nuiymeya 3-MEP | Apt No 304 | Chargebale
10017473 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 304-NU | Water Features |  |  |  | Pending | Nuiymeya 3-MEP | Apt No 304 | Chargebale
10017474 | 2026-02-23 | P3 | Civil Works - civil - Humidity Issue | Askaan Properties LLC | 505-AN2 | Civil Works |  |  | Ramesh Rajak | Pending | Al Andalous Tower 2-MEP | Apt No 505 | Chargebale
10017475 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC is not working | Askaan Properties LLC | 206-AN3 | HVAC systems |  |  |  | Pending | Al Andalous Tower 3-AC | Apt No 206 | Chargebale
10017476 | 2026-02-23 | P3 | Electrical Works - Electrical - Door Cylinder Repairing B 309A 056 443 6164 Washroom doors cylinder replacement | Aqaar Community Mangement | Araki Abasher | Electrical Works |  |  | Bal Bahadur Gurung | Pending | Orient Towers-TFM | Apt No 309A | Chargebale
10017477 | 2026-02-23 | P3 | Carpenter works - Carpentry - entrance main door issue A1 tower gf Entrance door stopper repairing | Aqaar Community Mangement | Araki Abasher | Carpenter works |  |  | Khoajuddin Iman Uddin | Pending | Orient Towers-TFM | Ground Floor | Non-Chargebale
10017478 | 2026-02-23 | P3 | Water Features - Plumbing - Water Heater Not Working | Askaan Properties LLC | 805-AN3 | Water Features |  |  |  | Pending | Al Andalous Tower 3-MEP | Apt No 805 | Chargebale
10017479 | 2026-02-23 | P3 | Carpenter works - Carpentry - Aluminium door frame damaged. | Askaan Properties LLC | 301-AF | Carpenter works |  |  | Ramesh Rajak | Pending | A & F Tower-MEP | Apt No 301 | Chargebale
10017480 | 2026-02-23 | P3 | Electrical Works - Electrical - Electrician required | Saqr Real Estate | 113-NA | Electrical Works |  |  |  | Pending | Najim Building-MEP | Apt No 113 | Chargebale
10017481 | 2026-02-23 | P3 | Potable water networks - Pumps - Low water pressure | Askaan Properties LLC | 1006-AF | Potable water networks |  |  |  | Pending | A & F Tower-MEP | Apt No 1006 | Chargebale
10017482 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 801-RE | Water Features |  |  |  | Pending | Al Raffa 2-MEP | Apt No 801 | Chargebale
10017483 | 2026-02-23 | P3 | Water Features - Plumbing - Drainage blockage | Askaan Properties LLC | 1203-AN1 | Water Features |  |  |  | Pending | Al Andalous Tower 1-MEP | Apt No 1203 | Chargebale
10017484 | 2026-02-23 | P3 | Electrical Works - Electrical - Electrician required | Askaan Properties LLC | 304-AL | Electrical Works |  |  |  | Pending | Alia plaza-MEP | Apt No 304 | Chargebale
10017485 | 2026-02-23 | P3 | Carpenter works - Carpentry - Main Door Issue | Askaan Properties LLC | 306-RE | Carpenter works |  |  | Ramesh Rajak | Pending | Al Raffa 2-MEP | Apt No 306 | Chargebale
10017486 | 2026-02-23 | P3 | Electrical Works - Electrical - Electrician required | Askaan Properties LLC | 508-AF | Electrical Works |  |  |  | Pending | A & F Tower-MEP | Apt No 508 | Chargebale
10017487 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 208-AW | Water Features |  |  |  | Pending | Waqef 5-MEP | Apt No 208 | Chargebale
10017488 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC Issue | Askaan Properties LLC | 108-RE | HVAC systems |  |  |  | Pending | Al Raffa 2-AC | Apt No 108 | Chargebale
10017489 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 902-AN1 | Water Features |  |  |  | Pending | Al Andalous Tower 1-MEP | Apt No 902 | Chargebale
10017490 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 202-AF | Water Features |  |  |  | Pending | A & F Tower-MEP | Apt No 202 | Chargebale
10017491 | 2026-02-23 | P3 | Electrical Works - Electrical - Electrician required | Askaan Properties LLC | 304-NU | Electrical Works |  |  |  | Pending | Nuiymeya 3-MEP | Apt No 304 | Chargebale
10017492 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC Issue | Askaan Properties LLC | 301-NU | HVAC systems |  |  |  | Pending | Nuiymeya 3-AC | Apt No 301 | Chargebale
10017493 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC Issue | Askaan Properties LLC | 501-AL | HVAC systems |  |  |  | Pending | Alia plaza-AC | Apt No 501 | Chargebale
10017494 | 2026-02-23 | P3 | Electrical Works - Electrical - Electrician required | Askaan Properties LLC | 405-AW | Electrical Works |  |  |  | Pending | Waqef 5-MEP | Apt No 405 | Chargebale
10017495 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Aqaar Community Mangement | 203-A1 | Water Features |  |  | Muhammad Waqas Muhammad Raifan | Pending | Orient Towers-TFM | Apt No 203 | Chargebale
10017496 | 2026-02-23 | P3 | Electrical Works - Electrical - Light Replacement A2 208 0509858562 Light not working | Aqaar Community Mangement | Araki Abasher | Electrical Works |  |  | Bal Bahadur Gurung | Pending | Orient Towers-TFM | Apt No 208 | Chargebale
10017497 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC is not cooling A2 Gf reception area AC not cooling | Aqaar Community Mangement | Araki Abasher | HVAC systems |  |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Ground Floor | Non-Chargebale
10017498 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC is not cooling | Aqaar Community Mangement | Araki Abasher | HVAC systems |  |  | ATLASHVACOT2 | Pending | Orient Towers-TFM | Apt No 211 | Chargebale
10017499 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 604-NU | Water Features |  |  |  | Pending | Nuiymeya 3-MEP | Apt No 604 | Chargebale
10017500 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 302-AN2 | Water Features |  |  |  | Pending | Al Andalous Tower 2-MEP | Apt No 302 | Chargebale
10017501 | 2026-02-23 | P3 | Carpenter works - Carpentry - Carpenter required | Askaan Properties LLC | 302-AN2 | Carpenter works |  |  | Ramesh Rajak | Pending | Al Andalous Tower 2-MEP | Apt No 302 | Chargebale
10017502 | 2026-02-23 | P3 | Carpenter works - Carpentry - kitchen cabinet defect | Askaan Properties LLC | 802-RE | Carpenter works |  |  | Ramesh Rajak | Pending | Al Raffa 2-MEP | Apt No 802 | Chargebale
10017503 | 2026-02-23 | P3 | Civil Works - civil - Tiles issue | Askaan Properties LLC | 802-RE | Civil Works |  |  | Ramesh Rajak | Pending | Al Raffa 2-MEP | Apt No 802 | Chargebale
10017504 | 2026-02-23 | P3 | Carpenter works - Carpentry - False ceiling replacement | Askaan Properties LLC | 802-RE | Carpenter works |  |  | Ramesh Rajak | Pending | Al Raffa 2-MEP | Apt No 802 | Chargebale
10017505 | 2026-02-23 | P3 | Water Features - Plumbing - Kitchen Water Tap Replacement | Askaan Properties LLC | 802-RE | Water Features |  |  |  | Pending | Al Raffa 2-MEP | Apt No 802 | Chargebale
10017506 | 2026-02-23 | P3 | Water Features - Plumbing - shower broken | Askaan Properties LLC | 802-RE | Water Features |  |  |  | Pending | Al Raffa 2-MEP | Apt No 802 | Chargebale
10017507 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC Issue | Aqaar Community Mangement | 301-GCM1 | HVAC systems |  |  | ATLASHVACGC2 | Pending | Garden City-TFM | Apt No301 | Chargebale
10017508 | 2026-02-23 | P3 | Water Features - Plumbing - Water Heater Not Working | Aqaar Community Mangement | 905-GCA1 | Water Features |  |  | Kamal Hossain Kayser Chorider | Pending | Garden City-TFM | Apt No905 B | Chargebale
10017509 | 2026-02-23 | P3 | Civil Works - civil - Ceramic Issue | Aqaar Community Mangement | 905-GCA1 | Civil Works |  |  | Mohandas vallithundil kunjukrishnan | Pending | Garden City-TFM | Apt No905 B | Chargebale
10017510 | 2026-02-23 | P3 | HVAC systems - Air Conditioner - AC Issue | Aqaar Community Mangement | 706-GCM3 | HVAC systems |  |  | ATLASHVACGC2 | Pending | Garden City-TFM | Apt No706 | Chargebale
10017511 | 2026-02-23 | P3 | Water Features - Plumbing - Plumbing issues | Askaan Properties LLC | 706-AN2 | Water Features |  |  |  | Pending | Al Andalous Tower 2-MEP | Apt No 706 | Chargebale
parmFromDate
2/23/2026 12:00:00 AM
parmToDate
2/23/2026 12:00:00 AM