## HVAC MEP Inspection
HVAC & MEP INSPECTION REPORT
INJAAZ PLATFORM
Site: Test Site - Ajman Tower
Site Information
Site Name | Test Site - Ajman Tower
Visit Date | 2026-03-12
Report Generated | 2026-03-13 18:49:38 (GST)
Total Items | 2
Inspection Items
# | Asset | System | Description | Quantity | Brand | Specification | Comments
1 | Chiller Unit A | HVAC | Main chiller for building cooling | 1 | Carrier | 500 TR | In good condition
2 | AHU-01 | HVAC | Air handling unit Floor 1 | 1 | Trane | 10,000 CFM | Filter replacement recommended