## HVAC MEP Inspection
HVAC & MEP INSPECTION REPORT
INJAAZ PLATFORM
Site: Test Site - Ajman Tower
Site Information
Site Name | Test Site - Ajman Tower
Visit Date | 2026-03-16
Report Generated | 2026-03-16 10:53:01 (GST)
Total Items | 3
Inspection Items
# | Asset | System | Description | Quantity | Brand | Specification | Comments
1 | Chiller Unit 1 | HVAC | Central chiller - 500 TR capacity | 1 | Carrier | Model 30XA-500 | Routine inspection. All readings normal.
2 | AHU-12 | HVAC | Air Handling Unit - Floor 12 | 1 | Trane | 15,000 CFM | Filter replaced. Belt tension checked.
3 | Electrical Panel MDB-1 | MEP | Main Distribution Board | 1 | ABB | 800A | Thermal scan completed. No hotspots detected.